# TASCA Go4 Analysis
OpenOffice document tascaGo4intro.odt (H.Essel, 8. July 2009) SVN rev. 347
### Set up account
The tasca account should be customized for more convenience. One should define a variable for the repository path:
export SVN=https://subversion:443/goofy/go4/trunk/applications/tasca
To create a new working copy of the repository, create a directory and
mkdir myws
svn checkout $SVN myws
cd myws
svn info
Then one can use svn commands like
svn list $SVN
to get a listing of the subversion repository. Some useful alias:
svndiff='svn diff --diff-cmd /usr/bin/diff -x "-EwbB" '
svndiffl='svn diff --diff-cmd /usr/bin/diff -x "-qEwbB" '
On a workspace directory these give a list of files different from repository (second line file list only).
Above has been added to .bashrc file (HE). Other useful alias can be defined here.
### Set up working directory
Once the directory is made an svn working directory (by checking out a repository to it) there are few commands to deal with the repository:
svn info
show the repository the workspace belongs to
svn list $SVN
list of repository
svn status -u
print items modified in repository
svn update
update workspace from repository
svn commit -m “enter here comment” [file]
copies all changed files to repository. If a file is specified, only this file is copied (if modified).
### After login
Setup everything for Go4 (now already done in .bashrc)
. go4login 403-00
. lealogin
(Note the space behind the dot.)
Go4 analysis steps

## The Go4 analysis
To build the Tasca analysis, simply:
make
The executable made is
MainUserAnalysis
It can be called from shell or is started from GUI. In principle it does the same in both cases.
### Batch mode
The analysis is steered by a ROOT macro file setup.C. You can edit this file before running the analysis. There are the following lines:
 TString unpackProcess("yes");
 TString unpackStore("no");
 TString unpackOverWrite("yes");

 TString caliProcess("yes");
 TString caliStore("no");
 TString caliOverWrite("yes");

 TString checkProcess("yes");
 TString checkStore("no");
 TString checkOverWrite("yes");

 TString analysisProcess("yes");
 TString analysisStore("no");
 TString analysisOverWrite("yes");

 TString autosave("yes");
 Int_t autosaveinterval=0; // after n seconds, 0 = at termination of event loop
### Examples:
MainUserAnalysis -f file.lmd
MainUserAnalysis -f @file.lml
processes file or list of files. respectively.
MainUserAnalysis -t r4-4 10000
connects to MBS transport node R4-4 and processes 10000 events.
Usually in batch mode one either writes an auto-save file (containing all histograms, parameters, etc.), and/or any event file. The auto-save file name and the event file names are prefixed by the input file or node name
b_r4-4_AS.root, b_r4-4_Unpacked.root, b_r4-4_Calibrated.root, b_r4-4_Checked.root, b_r4-4_Analysis.root
The b_ is added in batch mode only. Any of these can be opened by ROOT or in the GUI. To process these in batch:
MainUserAnalysis -f r4-4
The pre and postfixes are added automatically.
To process files from a data directory, the variable
export TASCASTORE=/data.local3/x/x/x
must be set. Then all files are read and stored from/to it. Currently no files can be stored on a directory different from the source directory.
### Interactive mode
In interactive mode the analysis is started by the GUI. In this case, the file name prefix is the analysis name specified in the Start Client panel. This name is saved by Save Settings. In addition the prefix b_ is changed to i_. Further setup is specified in the configuration panel coming up after starting the analysis. Default settings are the ones from setup.C. This setup can be modified interactively and can be stored (NOTE: after Submit!) in
Go4AnalysisPrefs.root
from where it is retrieved next time the analysis is started. If this file is present, the settings from setup.C are overwritten.
## The analysis steps
The analysis is divided into four steps as shown in the figure.
### Unpacker step
Input:	LMD file or MBS (transport, stream server, event server)
Output: ROOT tree with values of all detector channels and detector hit lists. Details in TascaUnpackEvent.h
Autosave: Controls, Parameters, Pedestals and Codec
Histograms in directory Unpack: Adc_nn GammaE_n GammaT_n Pedestals Contents AdcAllRaw	AdcAllCal TraceRaw_nn TraceE_nn Hist_nn Pileup_nn
Processing: TascaUnpackProc constructor creates the parameters, histograms and pictures. Method TascaUnpack uses parameter class TascaCodec to decode Adc values, gamma values, and fills the data fields of TascaUnpackEvent. TascaCodec also contains the mapping tables for the multiplexed channels.
### Calibrator step
Input: TascaUnpackEvent (from Unpack step or from file)
Output: ROOT tree with calibrated values of all detector channels and gammas. Hit indices of all detectors and their values.	Details in TascaCaliEvent.h
Autosave: Controls, Parameters, Calibration, CaliFitter
Histograms in directory Cali: All detector channels, gamma channels, Sum of detector channels.
Processing: Filling histograms and TascaCaliEvent data fields.
### Checker step
Input: TascaCaliEvent (from Calibrator step or from file)
Output: ROOT tree with calibrated hits. Hit indices of all detectors and their values.
Condition filters: EvrH, AlphaL, Alpha1L, Alpha2L, Fission1H, Fission2H, BackH
Limits set in setparam.C
Details in TascaCheckEvent.h
Histograms in directory Check: 2d histograms of stop detector (Energy-Xstripe) for each Ystripe.
Autosave: Controls, Parameter
Processing: Filling histograms and TascaCheckEvent data fields.
### Analysis step
Input: TascaCheckEvent (from Checker step or from file)
Output: ROOT tree with data from TascaAnlEvent.h (currently none) or TascaEvent.h
Autosave: Creates parameters Controls, Parameters
Processing: Looking for chains, Create plain ROOT tree from TascaEvent

## Control files
There are some ROOT macro files to setup several parameter values.
setcontrol.C : Lines to change:
  fControl->writeChainTree =kTRUE; // used by Analyzer
  //fControl->ChainCounter =0; // used by Analyzer. Without Autosave: will be 0
  fControl->UnpackHisto =kFALSE; // used by Unpacker
  fControl->CaliHisto =kFALSE; // used by Calibrator
  fControl->CheckHisto =kFALSE; // used by Checker
  fControl->AnlHisto =kFALSE; // used by Analysis
  fControl->checkTof =kFALSE; // used by unpacker
  fControl->checkChopper =kFALSE; // used by unpacker
  fControl->checkMacro =kFALSE; // used by unpacker
  fControl->checkMicro =kFALSE; // used by unpacker
  fControl->TofMustbe =kTRUE; // used by unpacker
  fControl->ChopperMustbe=kTRUE; // used by unpacker
  fControl->MacroMustbe =kFALSE; // used by unpacker
  fControl->MicroMustbe =kFALSE; // used by unpacker

setparam.C : Lines to change:
// Used by Checker
// Energy windows MeV
Float_t EvrHmin = 4.000, EvrHmax = 15.000;
Float_t Alpha0Lmin = 9.800, Alpha0Lmax = 10.200;
Float_t Alpha1Lmin = 9.700, Alpha1Lmax = 10.100;
Float_t Alpha2Lmin = 8.970, Alpha2Lmax = 9.3700;
Float_t Fission1Hmin=60.000, Fission1Hmax=220.0000;
Float_t Fission2Hmin=60.000, Fission2Hmax=220.0000;
Float_t BackHmin =10.000, BackHmax = 80.000;
// Time windows sec
Float_t fAlphaTmin =0., fAlphaTmax =900.;
Float_t fAlpha1Tmin =0., fAlpha1Tmax = 20.;
Float_t fAlpha2Tmin =0., fAlpha2Tmax =180.;
Float_t fFission1Tmin=0., fFission1Tmax=900.;
Float_t fFission2Tmin=0., fFission2Tmax= 70.;
...
fp->shift=5; // Unpacker gamma decoder for energies
fp->Adc80TofMin=300; // signals Tof (instead of TOF register)
fp->AdcThreshold=100; // Unpacker uses this is minimum raw value
fp->EventStackSize=100000; // used in Analysis
fp->AlphaMaxL=16000.; // Calibrator take low value up to this limit. Above
fp->AlphaMaxH=30000.; // take high value up to this limit as low
fp->AlphaMinL=1000.; // Unpacker raw minimum value for alpha
fp->AlphaMinH=1000.; // Unpacker raw minimum value for alpha

setcali.C steers the calibration:

  fCalibration->EnableCalibration(kTRUE);	// use calibration or not
  fCalibration->SetPrefix("cali2");	// prefix for coefficient files
## Processing LMD files
To process several LMD files at once and store the results in one root file, one must create a text file with extension .lml and specify this file preceded by an @ instead of the LMD filename. The runbatch.sh script does that on the fly (see below). File names are t018fRRRFFFF.lmd, where RRR is the run number, FFFF the file number.
Example t018f0790.lml
/data.local1/tasca/t018f0790381.lmd
/data.local1/tasca/t018f0790382.lmd
/data.local1/tasca/t018f0790383.lmd
/data.local1/tasca/t018f0790384.lmd
/data.local1/tasca/t018f0790385.lmd
/data.local1/tasca/t018f0790386.lmd
/data.local1/tasca/t018f0790387.lmd
/data.local1/tasca/t018f0790388.lmd
/data.local1/tasca/t018f0790389.lmd

I recommend to process in batch mode Unpacker and Calibration steps from one file set into one root file. Then run Checker from this root file. Append output of all inputs (output files from one file set of 4 GB are few 10 MB). Resulting ROOT file can be fast scanned by Analysis step.
It might be necessary to find events by event number in LMD files. For this purpose in each event the run and file number is stored (Run is high two bytes, file number low two bytes). In the ROOT files these events can be found easily via macros like filter...C or print...C macros. If one wants to create an LMD subset,
Create the LML files by changing into LMD file directory, then:
lmlrmake t018f 3 146

This creates files t018fRRR.lml with RRR=003 to 146 containing lists of files t018fRRR*.lmd including full path.
Create the LMD directory files by command:
lmdirmake <directory of LMD files>
lmdirmake -f file
The second command processes only one file. Search for events by command:
lmdirshow <directory> [event number]
lmdirshow -f file [event number]
Again the second command checks only one file.
LMD files have been moved to directories
/d/ship01/tasca/t018/badfiles
/d/ship01/tasca/t018/backup
/d/ship01/tasca/t018/calibration
/d/ship01/tasca/t018/targettest
Because working directly from /d was incredible slow, we first copy the data to local disk, then process, and remove the LMD files (from local disk). The place for the processed ROOT files and LMDIR files is on lxg0708:
/data.local3/offlinedata
/u/tasca/GO4_offline_t018/data
second being a soft link to the first for convenience.
GO4 analysis is in directories of
/u/tasca/GO4_offline_t018
The code for the actual batch run is in checked01, data on data/stepdata/lmdir,calibrated0x,checked0x. There is also a shell script to execute:
runbatch.sh first last
First and last are numbers xxx mentioned above.
collectchecked.C(dirfile,rootfile,events)
root -b -l “collectchecked.C(\”p01.list\”,\”b_p01_Checked.root\”,0)”
copies all checked ROOT files from a container text file into one. Additional filters could be applied.
filtercheckedY.C
copies all checked ROOT files with fast filter. Similar to collectchecked.C but uses partial read. One event cane be printed by
printcheckevent.C
root -b -l “printcheckevent.C(\”b_p01_Checked.root\”,event)”
Raw data in repository:
gstore query “*” tascaraw /exp/t018
shows 400 GB in 956 files.
After calibration we have 54 GB in 167 ROOT files
After Checking we have 5 GB in 5 ROOT files.
## Analysis chain
1. Produce ROOT files with calibrated and checked events. All LMD files of a run go into one ROOT file.
   Adjust runbatch.sh script to the correct directories. In setup.C activate the Unpacker, Calibrator, and Checker. Activate output for Calibrator and Checker.
   time runbatch.sh 196 206 >> runbatch196-206.log
2. Collect ROOT files with checked events into phase ROOT files like phase p04:
   time root -b -l "collectchecked.C(\"t018p04-196-206.list\",\"../data/stepdata/checked03/b_p04_Checked.root\",0)"
3. Run GO4 Analysis to search for chains. In setcontrol.C parameter writeChainTree steers the production of ROOT tree file with the chains named xxx_Chains.root, where xxx is the first name part of the input tree file. In setup.C Deactivate all steps and activate Analysis.
   ./MainUserAnalysis -f p04 >> chainsSFoffp04.log
4. To get a complete printout of the data of a chain, use
   printevent.C(rootfile,chain number)
   root -b -l “printevent.C(\”b_p04_Chains.root\",23)"
## Analysis results
Unpacker sets isTof when adc[80] is above Adc80TofMin (set to 300 in setparam.C).
Unpacker sets isVeto when any VetoL is above 0.
Unpacker calculates multiplicities for StopXY above AdcThreshold (set to 100 in setparam.C).
Unpacker calculates System time in msec with offset SystemTimeSecOff=1243462631 from first file.
Calibrator copies XH(YH) to XL(YL) when XL(YL) is above AlphaMaxL (set to 16000 KeV in setparams.C).
Calibrator skips events with true isVeto.
Checker filters out Evr, SF and Alpha.
Evr: isTof & isMacro & energy XH in [ 4 , 15 ] MeV.
Alpha: NOT isTof & energy XL or energy (XL+BL if BL>4) in [ 8.97, 10.2 ] MeV.
SF: NOT isTof & energy XH in [ 60 , 220 ] MeV.
Analyzer looks for SF & NOT isMacro & YHindex>=0. Then it steps back 250 [s] (10 s for short run) looking for Alphas and Evrs which have the same X and Y±1 stripe.
Runs 32-222 show 84 chain candidates. All raw data files containing chain fragments (114 files, 52GB) were composed into ROOT files with calibrated events (8 files, 8.5 GB) and checked events (1 file, 0,6GB).
This takes 140m
Time covered: 275.722 s (~3d).
Unpacker writes	230,006,511events.
Calibrator writes	181,529,526 events (79%) 8 GB
Checker writes	12,715,418 events (6%) 0.6 GB
Analyzer reads	12,715,418 events, SF 3,931,482 (processed 726), Alphas 260,536, EVRs 8,523,436
Analyzer writes 84 chains with 553 events. (Some Alphas and Evrs are counted double when chains overlap). 59KB
This takes 7m
Following the results of long chain window (250s). Only chains found by other program are shown. In two chains there are missing members. In run 163 the EVR has Veto=275 and is skipped. In run 179 EVR is below Energy, and one Alpha is in X=123 instead of 122. The events marked CaliEvent are printouts by event number as identified by other program.
Note that by a bug in the printout the absolute System time in [ms] is printed negativ (%d instead of %u). But the delta times are calculated and printed correctly.

/data.local1/tasca/b_t018selection_Chains.root
Event Chain 2 Run 42 File 196 Evt 74546917 Tof:1 Off:0 EVR:1 Al:0 SF:0
  [ms] 475187373 [mysec] Sys 373588 Gam 0 Adc 2640062660, d [msec] Sys 0.000 Gam 0.000 Adc 17.946
  StopXL(H) i 22 ( 22), [MeV] 5.556 ( 5.504) StopYL(H) i 11 ( 11), [MeV] 2.064 ( 1.473)
  BackL(H) i -1 ( -1), [MeV] 0.603 ( -2.878) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum 7.600589 Max 7.233443 XMulti 1 ( 1)
Event Chain 2 Run 42 File 196 Evt 74612240 Tof:1 Off:0 EVR:1 Al:0 SF:0
  [ms] 475267016 [mysec] Sys 16379 Gam 0 Adc 2719706683, d [msec] Sys 79.643 Gam 0.000 Adc 55.580
  StopXL(H) i 22 ( 22), [MeV] 9.956 ( 10.072) StopYL(H) i 11 ( 11), [MeV] 9.961 ( 10.129)
  BackL(H) i -1 ( -1), [MeV] 0.603 ( -2.878) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum 0.709099 Max 0.709699 XMulti 1 ( 1)
Event Chain 2 Run 42 File 196 Evt 74632116 Tof:1 Off:0 EVR:1 Al:0 SF:0
  [ms] 475291217 [mysec] Sys 217849 Gam 0 Adc 2743908524, d [msec] Sys 24.201 Gam 0.000 Adc 38.748
  StopXL(H) i 59 ( 22), [MeV] 4.577 ( 4.577) StopYL(H) i 10 ( 10), [MeV] 4.610 ( 4.358)
  BackL(H) i -1 ( -1), [MeV] 0.603 ( -2.878) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum 12.459943 Max 7.103706 XMulti 2 ( 2)
Event Chain 2 Run 42 File 197 Evt 74694172 Tof:1 Off:0 EVR:1 Al:0 SF:0
  [ms] 475367111 [mysec] Sys 111299 Gam 0 Adc 2819803149, d [msec] Sys 75.894 Gam 0.000 Adc 21.505
  StopXL(H) i 22 ( 22), [MeV] 11.274 ( 11.462) StopYL(H) i 12 ( 12), [MeV] 11.267 ( 11.118)
  BackL(H) i -1 ( -1), [MeV] 0.603 ( -2.878) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum -0.000500 Max 0.000300 XMulti 1 ( 1)
Event Chain 2 Run 42 File 197 Evt 74695731 Tof:1 Off:0 EVR:1 Al:0 SF:0
  [ms] 475368970 [mysec] Sys 970763 Gam 0 Adc 2821662642, d [msec] Sys 1.859 Gam 0.000 Adc 0.553
  StopXL(H) i 22 ( 22), [MeV] 9.119 ( 9.145) StopYL(H) i 12 ( 12), [MeV] 9.093 ( 8.972)
  BackL(H) i -1 ( -1), [MeV] 0.603 ( -2.878) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum -0.000500 Max 0.000300 XMulti 1 ( 1)
Event Chain 2 Run 42 File 197 Evt 74701476 Tof:1 Off:0 EVR:1 Al:0 SF:0
  [ms] 475376071 [mysec] Sys 71825 Gam 0 Adc 2828763814, d [msec] Sys 7.101 Gam 0.000 Adc 1.130
  StopXL(H) i 22 ( 22), [MeV] 6.406 ( 6.364) StopYL(H) i 11 ( 11), [MeV] 6.370 ( 6.282)
  BackL(H) i -1 ( -1), [MeV] 0.603 ( -2.878) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum 8.031973 Max 7.192440 XMulti 1 ( 1)
Event Chain 2 Run 42 File 197 Evt 74704396 Tof:0 Off:1 EVR:0 Al:1 SF:0
  [ms] 475379660 [mysec] Sys 660687 Gam 0 Adc 2832352732, d [msec] Sys 3.589 Gam 0.000 Adc 8.862
  StopXL(H) i 22 ( 22), [MeV] 9.896 ( 10.006) StopYL(H) i 11 ( 11), [MeV] 9.900 ( 9.992)
  BackL(H) i -1 ( -1), [MeV] 0.603 ( -2.878) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum -0.000500 Max 0.000300 XMulti 1 ( 1)
Event Chain 2 Run 42 File 197 Evt 74722476 Tof:0 Off:1 EVR:0 Al:1 SF:0
  [ms] 475401807 [mysec] Sys 807987 Gam 0 Adc 2854500375, d [msec] Sys 22.147 Gam 0.000 Adc 21.269
  StopXL(H) i 22 ( 22), [MeV] 9.259 ( 9.344) StopYL(H) i 11 ( 11), [MeV] 9.263 ( 9.374)
  BackL(H) i -1 ( -1), [MeV] 0.603 ( -2.878) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum -0.000500 Max 0.000300 XMulti 1 ( 1)
Event Chain 2 Run 42 File 197 Evt 74727109 Tof:0 Off:1 EVR:0 Al:0 SF:1
  [ms] 475407500 [mysec] Sys 500177 Gam 0 Adc 2860192654, d [msec] Sys 0.004 Gam 0.000 Adc 4.052
  StopXL(H) i 22 ( 22), [MeV] 136.062 (178.575) StopYL(H) i 11 ( 11), [MeV] 135.172 (135.172)
  BackL(H) i 51 ( 51), [MeV] 18.345 ( 42.513) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum -0.000500 Max 0.000300 XMulti 3 ( 3)
---------------------------------------
Event Chain 16 Run 59 File 278 Evt 83423174 Tof:1 Off:0 EVR:1 Al:0 SF:0
  [ms] 690737305 [mysec] Sys 305031 Gam 0 Adc 455613435, d [msec] Sys 0.000 Gam 0.000 Adc 23.749
  StopXL(H) i 59 ( 59), [MeV] 13.517 ( 13.792) StopYL(H) i 26 ( 26), [MeV] 13.513 ( 13.771)
  BackL(H) i -1 ( -1), [MeV] 0.603 ( -2.878) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum 11.353019 Max 6.999854 XMulti 1 ( 1)
Event Chain 16 Run 59 File 278 Evt 83459103 Tof:1 Off:0 EVR:1 Al:0 SF:0
  [ms] 690780714 [mysec] Sys 714829 Gam 0 Adc 499023902, d [msec] Sys 43.409 Gam 0.000 Adc 0.483
  StopXL(H) i 59 ( 59), [MeV] 6.779 ( 6.714) StopYL(H) i 24 ( 24), [MeV] 6.767 ( 6.563)
  BackL(H) i -1 ( -1), [MeV] 0.603 ( -2.878) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum 1.026585 Max 0.731617 XMulti 3 ( 3)
Event Chain 16 Run 59 File 278 Evt 83469984 Tof:1 Off:0 EVR:1 Al:0 SF:0
  [ms] 690793806 [mysec] Sys 806402 Gam 0 Adc 512115677, d [msec] Sys 13.092 Gam 0.000 Adc 19.263
  StopXL(H) i 59 ( 59), [MeV] 5.478 ( 5.341) StopYL(H) i 24 ( 24), [MeV] 5.474 ( 5.305)
  BackL(H) i -1 ( -1), [MeV] 0.603 ( -2.878) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum 0.947235 Max 0.667122 XMulti 1 ( 1)
Event Chain 16 Run 59 File 278 Evt 83537291 Tof:1 Off:0 EVR:1 Al:0 SF:0
  [ms] 690874675 [mysec] Sys 675958 Gam 0 Adc 592986481, d [msec] Sys 80.869 Gam 0.000 Adc 22.073
  StopXL(H) i 59 ( 59), [MeV] 5.593 ( 5.413) StopYL(H) i 24 ( 24), [MeV] 5.582 ( 5.371)
  BackL(H) i -1 ( -1), [MeV] 0.603 ( -2.878) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum 0.727135 Max 0.727835 XMulti 1 ( 1)
Event Chain 16 Run 59 File 278 Evt 83539772 Tof:0 Off:0 EVR:0 Al:1 SF:0
  [ms] 690877700 [mysec] Sys 700722 Gam 0 Adc 596011292, d [msec] Sys 3.025 Gam 0.000 Adc 2.372
  StopXL(H) i 59 ( -1), [MeV] 9.997 ( -5.985) StopYL(H) i 25 ( -1), [MeV] 0.597 ( -4.436)
  BackL(H) i 7 ( 7), [MeV] 9.314 ( 9.222) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum -0.000500 Max 0.000300 XMulti 1 ( 1)
Event Chain 16 Run 59 File 278 Evt 83545501 Tof:0 Off:1 EVR:0 Al:1 SF:0
  [ms] 690884655 [mysec] Sys 655893 Gam 0 Adc 602966568, d [msec] Sys 6.955 Gam 0.000 Adc 13.553
  StopXL(H) i 59 ( -1), [MeV] 9.261 ( -5.985) StopYL(H) i 25 ( -1), [MeV] 0.615 ( -4.436)
  BackL(H) i 42 ( 42), [MeV] 8.566 ( 8.555) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum -0.000500 Max 0.000300 XMulti 1 ( 1)
Event Chain 16 Run 59 File 278 Evt 83547306 Tof:0 Off:1 EVR:0 Al:0 SF:1
  [ms] 690886833 [mysec] Sys 833853 Gam 0 Adc 605144563, d [msec] Sys 2.178 Gam 0.000 Adc 89.755
  StopXL(H) i 59 ( 59), [MeV] 165.836 (195.177) StopYL(H) i 25 ( 25), [MeV] 151.843 (151.843)
  BackL(H) i 45 ( 45), [MeV] 18.387 ( 29.341) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum -0.000500 Max 0.000300 XMulti 4 ( 4)
---------------------------------------
Event Chain 29 Run 67 File 316 Evt 32415799 Tof:1 Off:0 EVR:1 Al:0 SF:0
  [ms] 787281271 [mysec] Sys 271469 Gam 0 Adc 2509981432, d [msec] Sys 0.000 Gam 0.000 Adc 39.920
  StopXL(H) i 91 ( 91), [MeV] 6.587 ( 6.436) StopYL(H) i 66 ( 66), [MeV] 6.605 ( 6.364)
  BackL(H) i -1 ( -1), [MeV] 0.603 ( -2.878) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum 0.145004 Max 0.145204 XMulti 1 ( 1)
Event Chain 29 Run 67 File 316 Evt 32490150 Tof:1 Off:0 EVR:1 Al:0 SF:0
  [ms] 787372594 [mysec] Sys 594093 Gam 0 Adc 2601281933, d [msec] Sys 91.323 Gam 0.000 Adc 77.630
  StopXL(H) i 91 ( 91), [MeV] 6.844 ( 6.696) StopYL(H) i 66 ( 66), [MeV] 6.845 ( 6.695)
  BackL(H) i -1 ( -1), [MeV] 0.603 ( -2.878) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum 3.467192 Max 1.391349 XMulti 1 ( 1)
Event Chain 29 Run 67 File 316 Evt 32577430 Tof:1 Off:0 EVR:1 Al:0 SF:0
  [ms] 787480009 [mysec] Sys 9865 Gam 0 Adc 2708653542, d [msec] Sys 107.415 Gam 0.000 Adc 18.430
  StopXL(H) i 91 ( 91), [MeV] 6.522 ( 6.371) StopYL(H) i 66 ( 66), [MeV] 6.521 ( 6.364)
  BackL(H) i -1 ( -1), [MeV] 0.603 ( -2.878) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum 2.376957 Max 1.765118 XMulti 1 ( 1)
Event Chain 29 Run 67 File 316 Evt 32577619 Tof:0 Off:0 EVR:0 Al:1 SF:0
  [ms] 787480251 [mysec] Sys 251775 Gam 0 Adc 2708895455, d [msec] Sys 0.242 Gam 0.000 Adc 2.360
  StopXL(H) i 91 ( 91), [MeV] 10.034 ( 9.948) StopYL(H) i 66 ( 66), [MeV] 9.991 ( 9.939)
  BackL(H) i -1 ( -1), [MeV] 0.603 ( -2.878) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum 1.535911 Max 0.879197 XMulti 1 ( 1)
Event Chain 29 Run 67 File 316 Evt 32577729 Tof:0 Off:1 EVR:0 Al:0 SF:1
  [ms] 787480382 [mysec] Sys 382207 Gam 0 Adc 2709025889, d [msec] Sys 0.131 Gam 0.000 Adc 109.607
  StopXL(H) i 91 ( 91), [MeV] 195.023 (203.766) StopYL(H) i 66 ( 66), [MeV] 181.280 (181.280)
  BackL(H) i 9 ( 9), [MeV] 8.696 ( 8.743) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum -0.000500 Max 0.000300 XMulti 3 ( 3)
---------------------------------------
Event Chain 38 Run 72 File 345 Evt 88298931 Tof:1 Off:0 EVR:1 Al:0 SF:0
  [ms] 859389924 [mysec] Sys 924937 Gam 0 Adc 1603883621, d [msec] Sys 0.000 Gam 0.000 Adc 3.498
  StopXL(H) i 103 (103), [MeV] 5.561 ( 5.363) StopYL(H) i 80 ( 80), [MeV] 3.279 ( 3.186)
  BackL(H) i -1 ( -1), [MeV] 0.603 ( -2.878) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum 5.696070 Max 5.033726 XMulti 1 ( 1)
Event Chain 38 Run 72 File 345 Evt 88390045 Tof:1 Off:0 EVR:1 Al:0 SF:0
  [ms] 859500986 [mysec] Sys 986420 Gam 0 Adc 1714905767, d [msec] Sys 111.062 Gam 0.000 Adc 2.859
  StopXL(H) i 103 (103), [MeV] 10.014 ( 9.984) StopYL(H) i 80 ( 80), [MeV] 9.235 ( 9.344)
  BackL(H) i -1 ( -1), [MeV] 0.603 ( -2.878) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum 1.841992 Max 1.576165 XMulti 2 ( 2)
Event Chain 38 Run 72 File 345 Evt 88491887 Tof:1 Off:0 EVR:1 Al:0 SF:0
  [ms] 859624203 [mysec] Sys 203916 Gam 0 Adc 1838125155, d [msec] Sys 123.217 Gam 0.000 Adc 37.076
  StopXL(H) i 103 (103), [MeV] 11.904 ( 11.874) StopYL(H) i 79 ( 80), [MeV] 0.731 ( 1.134)
  BackL(H) i -1 ( -1), [MeV] 0.603 ( -2.878) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum 4.854714 Max 4.461099 XMulti 1 ( 1)
Event Chain 38 Run 72 File 345 Evt 88500429 Tof:1 Off:0 EVR:1 Al:0 SF:0
  [ms] 859634570 [mysec] Sys 570488 Gam 0 Adc 1848491890, d [msec] Sys 10.367 Gam 0.000 Adc 0.246
  StopXL(H) i 103 (103), [MeV] 7.592 ( 7.533) StopYL(H) i 79 ( 79), [MeV] 7.597 ( 7.725)
  BackL(H) i -1 ( -1), [MeV] 0.603 ( -2.878) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum -0.000500 Max 0.000300 XMulti 1 ( 1)
Event Chain 38 Run 72 File 345 Evt 88501551 Tof:0 Off:1 EVR:0 Al:1 SF:0
  [ms] 859635918 [mysec] Sys 918969 Gam 0 Adc 1849840391, d [msec] Sys 1.348 Gam 0.000 Adc 27.477
  StopXL(H) i 103 ( -1), [MeV] 9.690 ( -5.985) StopYL(H) i 79 ( 79), [MeV] 1.421 ( 1.198)
  BackL(H) i 13 ( 13), [MeV] 8.294 ( 8.427) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum -0.000500 Max 0.000300 XMulti 1 ( 1)
Event Chain 38 Run 72 File 345 Evt 88501605 Tof:0 Off:1 EVR:0 Al:0 SF:1
  [ms] 859635977 [mysec] Sys 977564 Gam 0 Adc 1849898985, d [msec] Sys 0.059 Gam 0.000 Adc 42.361
  StopXL(H) i 103 (103), [MeV] 129.841 (175.959) StopYL(H) i 79 ( 79), [MeV] 128.302 (128.302)
  BackL(H) i 16 ( 16), [MeV] 17.069 ( 46.118) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum 0.426496 Max 0.318658 XMulti 3 ( 3)
---------------------------------------
Event Chain 6 Run 73 File 352 Evt 101485164 Tof:1 Off:0 EVR:1 Al:0 SF:0
  [ms] 875747568 [mysec] Sys 568280 Gam 0 Adc 781591216, d [msec] Sys 0.000 Gam 0.000 Adc 18.087
  StopXL(H) i 83 ( 83), [MeV] 5.972 ( 5.801) StopYL(H) i 66 ( 66), [MeV] 5.997 ( 5.768)
  BackL(H) i -1 ( -1), [MeV] 0.603 ( -2.878) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum 0.664826 Max 0.254703 XMulti 1 ( 1)
Event Chain 6 Run 73 File 352 Evt 101485719 Tof:0 Off:1 EVR:0 Al:1 SF:0
  [ms] 875748217 [mysec] Sys 217528 Gam 0 Adc 782240474, d [msec] Sys 0.649 Gam 0.000 Adc 27.839
  StopXL(H) i 83 ( -1), [MeV] 9.984 ( -5.985) StopYL(H) i 66 ( -1), [MeV] 0.699 ( -4.436)
  BackL(H) i 37 ( 37), [MeV] 9.268 ( 9.176) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum -0.000500 Max 0.000300 XMulti 1 ( 1)
Event Chain 6 Run 73 File 352 Evt 101485846 Tof:0 Off:0 EVR:0 Al:0 SF:1
  [ms] 875748388 [mysec] Sys 388307 Gam 0 Adc 782411255, d [msec] Sys 0.171 Gam 0.000 Adc 38.492
  StopXL(H) i 83 ( 83), [MeV] 167.807 (178.793) StopYL(H) i 66 ( 66), [MeV] 156.056 (156.056)
  BackL(H) i 15 ( 15), [MeV] 10.905 ( 10.987) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum 1.901649 Max 0.896988 XMulti 3 ( 3)
---------------------------------------
Event Chain 46 Run 86 File 422 Evt 237942673 Tof:1 Off:0 EVR:1 Al:0 SF:0
  [ms] 1057001958 [mysec] Sys 958744 Gam 0 Adc 1646692288, d [msec] Sys 0.000 Gam 0.000 Adc 2.498
  StopXL(H) i 102 (102), [MeV] 8.537 ( 8.483) StopYL(H) i 71 ( 71), [MeV] 8.548 ( 8.483)
  BackL(H) i -1 ( -1), [MeV] 0.603 ( -2.878) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum -0.000500 Max 0.000300 XMulti 1 ( 1)
Event Chain 46 Run 86 File 422 Evt 238022029 Tof:1 Off:0 EVR:1 Al:0 SF:0
  [ms] 1057104359 [mysec] Sys 359551 Gam 0 Adc 1749094674, d [msec] Sys 102.401 Gam 0.000 Adc 0.735
  StopXL(H) i 102 (102), [MeV] 8.690 ( 8.615) StopYL(H) i 72 ( 72), [MeV] 8.679 ( 8.615)
  BackL(H) i -1 ( -1), [MeV] 0.603 ( -2.878) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum 1.002754 Max 1.002954 XMulti 1 ( 1)
Event Chain 46 Run 86 File 422 Evt 238022363 Tof:0 Off:1 EVR:0 Al:1 SF:0
  [ms] 1057104805 [mysec] Sys 805637 Gam 0 Adc 1749540765, d [msec] Sys 0.446 Gam 0.000 Adc 26.686
  StopXL(H) i 102 (102), [MeV] 9.977 ( 9.939) StopYL(H) i 72 ( 72), [MeV] 9.921 ( 9.873)
  BackL(H) i -1 ( -1), [MeV] 0.603 ( -2.878) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum -0.000500 Max 0.000300 XMulti 1 ( 1)
Event Chain 46 Run 86 File 422 Evt 238022435 Tof:0 Off:1 EVR:0 Al:0 SF:1
  [ms] 1057104892 [mysec] Sys 892197 Gam 0 Adc 1749627327, d [msec] Sys 0.087 Gam 0.000 Adc 17.031
  StopXL(H) i 102 (102), [MeV] 189.887 (189.887) StopYL(H) i 72 ( 72), [MeV] 178.500 (178.500)
  BackL(H) i 35 ( -1), [MeV] 1.159 ( -2.878) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum 0.701475 Max 0.701675 XMulti 5 ( 5)
---------------------------------------
Event Chain 47 Run 89 File 428 Evt 2042375 Tof:1 Off:0 EVR:1 Al:0 SF:0
  [ms] 1069867040 [mysec] Sys 40572 Gam 0 Adc 1626795135, d [msec] Sys 0.000 Gam 0.000 Adc 40.852
  StopXL(H) i 110 (110), [MeV] 13.726 ( 14.045) StopYL(H) i 68 ( 68), [MeV] 12.566 ( 12.654)
  BackL(H) i -1 ( -1), [MeV] 0.603 ( -2.878) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum 0.935364 Max 0.721272 XMulti 1 ( 1)
Event Chain 47 Run 89 File 428 Evt 2053036 Tof:1 Off:0 EVR:1 Al:0 SF:0
  [ms] 1069880261 [mysec] Sys 261238 Gam 0 Adc 1640016003, d [msec] Sys 13.221 Gam 0.000 Adc 1.745
  StopXL(H) i 110 (110), [MeV] 9.738 ( 9.854) StopYL(H) i 66 ( 66), [MeV] 9.738 ( 9.675)
  BackL(H) i -1 ( -1), [MeV] 0.603 ( -2.878) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum 3.317190 Max 2.208689 XMulti 2 ( 2)
Event Chain 47 Run 89 File 428 Evt 2122701 Tof:1 Off:0 EVR:1 Al:0 SF:0
  [ms] 1069966731 [mysec] Sys 731913 Gam 0 Adc 1726488005, d [msec] Sys 86.470 Gam 0.000 Adc 22.929
  StopXL(H) i 110 (110), [MeV] 7.086 ( 6.969) StopYL(H) i 67 ( 67), [MeV] 7.101 ( 7.038)
  BackL(H) i -1 ( -1), [MeV] 0.603 ( -2.878) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum 1.911466 Max 1.912166 XMulti 2 ( 2)
Event Chain 47 Run 89 File 428 Evt 2240128 Tof:1 Off:0 EVR:1 Al:0 SF:0
  [ms] 1070112465 [mysec] Sys 465113 Gam 0 Adc 1872223444, d [msec] Sys 145.734 Gam 0.000 Adc 0.212
  StopXL(H) i 110 (110), [MeV] 7.982 ( 7.999) StopYL(H) i 67 ( 67), [MeV] 5.841 ( 5.801)
  BackL(H) i -1 ( -1), [MeV] 0.603 ( -2.878) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum 1.568638 Max 1.568838 XMulti 1 ( 1)
Event Chain 47 Run 89 File 428 Evt 2241099 Tof:0 Off:1 EVR:0 Al:1 SF:0
  [ms] 1070113629 [mysec] Sys 629140 Gam 0 Adc 1873387489, d [msec] Sys 1.164 Gam 0.000 Adc 25.609
  StopXL(H) i 110 (110), [MeV] 9.945 ( 10.061) StopYL(H) i 68 ( 67), [MeV] 5.447 ( 4.564)
  BackL(H) i -1 ( -1), [MeV] 0.603 ( -2.878) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum -0.000500 Max 0.000300 XMulti 1 ( 1)
Event Chain 47 Run 89 File 428 Evt 2241393 Tof:0 Off:1 EVR:0 Al:0 SF:1
  [ms] 1070113972 [mysec] Sys 972201 Gam 0 Adc 1873730554, d [msec] Sys 0.343 Gam 0.000 Adc 9.970
  StopXL(H) i 110 (110), [MeV] 157.776 (183.718) StopYL(H) i 67 ( 67), [MeV] 97.934 ( 97.934)
  BackL(H) i 17 ( 17), [MeV] 17.345 ( 25.942) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum 1.057711 Max 1.057911 XMulti 2 ( 2)
---------------------------------------
Event Chain 48 Run 89 File 428 Evt 2590881 Tof:1 Off:0 EVR:1 Al:0 SF:0
  [ms] 1070548244 [mysec] Sys 244598 Gam 0 Adc 2308009625, d [msec] Sys 0.000 Gam 0.000 Adc 60.143
  StopXL(H) i 119 (119), [MeV] 9.454 ( 9.410) StopYL(H) i 76 ( 76), [MeV] 9.475 ( 9.410)
  BackL(H) i -1 ( -1), [MeV] 0.603 ( -2.878) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum 6.183044 Max 3.669946 XMulti 1 ( 1)
Event Chain 48 Run 89 File 428 Evt 2790005 Tof:1 Off:0 EVR:1 Al:0 SF:0
  [ms] 1070795225 [mysec] Sys 225862 Gam 0 Adc 2554994682, d [msec] Sys 246.981 Gam 0.000 Adc 60.609
  StopXL(H) i 119 (119), [MeV] 9.112 ( 9.079) StopYL(H) i 77 ( 77), [MeV] 9.135 ( 9.781)
  BackL(H) i -1 ( -1), [MeV] 0.603 ( -2.878) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum 0.798545 Max 0.798545 XMulti 1 ( 1)
Event Chain 48 Run 89 File 428 Evt 2790208 Tof:0 Off:1 EVR:0 Al:1 SF:0
  [ms] 1070795468 [mysec] Sys 468072 Gam 0 Adc 2555236896, d [msec] Sys 0.243 Gam 0.000 Adc 41.980
  StopXL(H) i 119 (119), [MeV] 10.022 ( 10.006) StopYL(H) i 77 ( 77), [MeV] 10.035 ( 10.864)
  BackL(H) i -1 ( -1), [MeV] 0.603 ( -2.878) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum -0.000500 Max 0.000300 XMulti 1 ( 1)
Event Chain 48 Run 89 File 428 Evt 2790226 Tof:0 Off:1 EVR:0 Al:0 SF:1
  [ms] 1070795494 [mysec] Sys 494392 Gam 0 Adc 2555263216, d [msec] Sys 0.026 Gam 0.000 Adc 26.320
  StopXL(H) i 119 (119), [MeV] 184.524 (184.524) StopYL(H) i 77 ( 77), [MeV] 200.141 (200.141)
  BackL(H) i 12 ( -1), [MeV] 0.828 ( -2.878) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum 1.004251 Max 0.747463 XMulti 4 ( 4)
---------------------------------------
Event Chain 77 Run 114 File 559 Evt 58617751 Tof:1 Off:0 EVR:1 Al:0 SF:0
  [ms] 1384231230 [mysec] Sys 230961 Gam 0 Adc 2457176455, d [msec] Sys 0.000 Gam 0.000 Adc 22.457
  StopXL(H) i 86 ( 86), [MeV] 6.565 ( 6.364) StopYL(H) i 69 ( 69), [MeV] 3.742 ( 3.602)
  BackL(H) i -1 ( -1), [MeV] 0.603 ( -2.878) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum 3.497565 Max 2.237984 XMulti 1 ( 1)
Event Chain 77 Run 114 File 559 Evt 58618108 Tof:0 Off:1 EVR:0 Al:1 SF:0
  [ms] 1384231575 [mysec] Sys 575942 Gam 0 Adc 2457521436, d [msec] Sys 0.345 Gam 0.000 Adc 26.632
  StopXL(H) i 86 ( 86), [MeV] 10.008 ( 9.873) StopYL(H) i 69 ( 69), [MeV] 5.865 ( 5.664)
  BackL(H) i -1 ( -1), [MeV] 0.603 ( -2.878) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum -0.000500 Max 0.000300 XMulti 1 ( 1)
Event Chain 77 Run 114 File 559 Evt 58674508 Tof:0 Off:1 EVR:0 Al:1 SF:0
  [ms] 1384282612 [mysec] Sys 612576 Gam 0 Adc 2508558867, d [msec] Sys 51.037 Gam 0.000 Adc 12.078
  StopXL(H) i 86 ( 86), [MeV] 9.279 ( 9.145) StopYL(H) i 69 ( 69), [MeV] 7.345 ( 7.312)
  BackL(H) i -1 ( -1), [MeV] 0.603 ( -2.878) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum -0.000500 Max 0.000300 XMulti 1 ( 1)
Event Chain 77 Run 114 File 559 Evt 58713496 Tof:0 Off:1 EVR:0 Al:0 SF:1
  [ms] 1384318088 [mysec] Sys 88960 Gam 0 Adc 2544035806, d [msec] Sys 35.476 Gam 0.000 Adc 12.784
  StopXL(H) i 86 ( 86), [MeV] 201.076 (201.076) StopYL(H) i 69 ( 69), [MeV] 103.705 (103.705)
  BackL(H) i 40 ( 40), [MeV] 3.338 ( 3.245) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum 0.224585 Max 0.124354 XMulti 8 ( 8)
---------------------------------------
Event Chain 109 Run 124 File 606 Evt 134861899 Tof:0 Off:0 EVR:0 Al:1 SF:0
  [ms] 1473821636 [mysec] Sys 636030 Gam 0 Adc 1852920615, d [msec] Sys 0.000 Gam 0.000 Adc 320.190
  StopXL(H) i 131 (102), [MeV] 8.549 ( 8.549) StopYL(H) i 75 ( 75), [MeV] 8.730 ( 8.618)
  BackL(H) i -1 ( -1), [MeV] 0.603 ( -2.878) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum -0.000500 Max 0.000300 XMulti 6 ( 6)
Event Chain 109 Run 124 File 606 Evt 134973068 Tof:1 Off:0 EVR:1 Al:0 SF:0
  [ms] 1474011423 [mysec] Sys 423905 Gam 0 Adc 2042711388, d [msec] Sys 189.787 Gam 0.000 Adc 2.348
  StopXL(H) i 131 (131), [MeV] 7.358 ( 7.393) StopYL(H) i 74 ( 74), [MeV] 7.325 ( 7.093)
  BackL(H) i -1 ( -1), [MeV] 0.603 ( -2.878) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum -0.000500 Max 0.000300 XMulti 4 ( 4)
Event Chain 109 Run 124 File 606 Evt 134973563 Tof:0 Off:1 EVR:0 Al:1 SF:0
  [ms] 1474012246 [mysec] Sys 246822 Gam 0 Adc 2043534321, d [msec] Sys 0.823 Gam 0.000 Adc 105.165
  StopXL(H) i 131 (131), [MeV] 9.997 ( 1.232) StopYL(H) i 74 ( -1), [MeV] 0.846 ( -4.436)
  BackL(H) i 35 ( 35), [MeV] 9.163 ( 9.176) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum 0.746787 Max 0.746787 XMulti 1 ( 1)
Event Chain 109 Run 124 File 606 Evt 134973601 Tof:0 Off:1 EVR:0 Al:0 SF:1
  [ms] 1474012309 [mysec] Sys 309876 Gam 0 Adc 2043597376, d [msec] Sys 0.063 Gam 0.000 Adc 27.325
  StopXL(H) i 131 (131), [MeV] 170.446 (170.446) StopYL(H) i 74 ( 74), [MeV] 133.811 (133.811)
  BackL(H) i -1 ( -1), [MeV] 0.603 ( -2.878) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum 1.449835 Max 0.438038 XMulti 2 ( 2)
---------------------------------------
Event Chain 115 Run 156 File 707 Evt 136137319 Tof:1 Off:0 EVR:1 Al:0 SF:0
  [ms] 1841789274 [mysec] Sys 274476 Gam 0 Adc 451946690, d [msec] Sys 0.000 Gam 0.000 Adc 139.253
  StopXL(H) i 89 ( 89), [MeV] 8.789 ( 8.824) StopYL(H) i 72 ( 72), [MeV] 8.787 ( 8.748)
  BackL(H) i -1 ( -1), [MeV] 0.603 ( -2.878) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum -0.000500 Max 0.000300 XMulti 1 ( 1)
Event Chain 115 Run 156 File 707 Evt 136146267 Tof:1 Off:0 EVR:1 Al:0 SF:0
  [ms] 1841803782 [mysec] Sys 782697 Gam 0 Adc 466455133, d [msec] Sys 14.508 Gam 0.000 Adc 82.991
  StopXL(H) i 89 ( 89), [MeV] 8.697 ( 8.687) StopYL(H) i 72 ( 72), [MeV] 8.715 ( 8.615)
  BackL(H) i -1 ( -1), [MeV] 0.603 ( -2.878) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum 9.975562 Max 9.550147 XMulti 1 ( 1)
Event Chain 115 Run 156 File 707 Evt 136146568 Tof:0 Off:1 EVR:0 Al:1 SF:0
  [ms] 1841804265 [mysec] Sys 265100 Gam 0 Adc 466937544, d [msec] Sys 0.483 Gam 0.000 Adc 23.535
  StopXL(H) i 89 ( 89), [MeV] 10.011 ( 10.129) StopYL(H) i 72 ( 72), [MeV] 9.903 ( 9.939)
  BackL(H) i -1 ( -1), [MeV] 0.603 ( -2.878) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum -0.000500 Max 0.000300 XMulti 1 ( 1)
Event Chain 115 Run 156 File 707 Evt 136146841 Tof:0 Off:1 EVR:0 Al:0 SF:1
  [ms] 1841804665 [mysec] Sys 665604 Gam 0 Adc 467337998, d [msec] Sys 0.400 Gam 0.000 Adc 65.127
  StopXL(H) i 89 ( 89), [MeV] 161.417 (161.417) StopYL(H) i 72 ( 72), [MeV] 142.086 (142.086)
  BackL(H) i -1 ( -1), [MeV] 0.603 ( -2.878) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum 0.706054 Max 0.706654 XMulti 4 ( 4)
--------------------------------------------
CaliEvent Run 163 File 738 Evt 35315979 Tof:1 Off:0 Veto:0 Veto is 275!
  [ms] 1932122530 [mysec] Sys 530512 Gam 0 Adc 590542603 d [msec] Sys 0.774
  Multi StopXL 2 StopXH 1 StopYL 1 StopYH 1 BackL 0 BackH 0 VetoL 1 VetoH 0
  StopXL(H) i 100 (100), [MeV] 6.941 ( 6.713) StopYL(H) i 53 ( 53), [MeV] 6.819 ( 6.761)
  BackL(H) i -1 ( -1), [MeV] 0.603 ( -2.878) VetoL(H) i 11 ( -1), [MeV] 0.275 ( 0.000)
  Gamma Multi 0, [MeV] Sum -0.000500 Max 0.000300
CaliEvent Run 163 File 738 Evt 35316464 Tof:0 Off:1 Veto:0
  [ms] 1932123304 [mysec] Sys 304518 Gam 0 Adc 591316619
  Multi StopXL 2 StopXH 1 StopYL 2 StopYH 1 BackL 0 BackH 0 VetoL 0 VetoH 0
  StopXL(H) i 100 (100), [MeV] 9.913 ( 9.982) StopYL(H) i 53 ( 53), [MeV] 9.879 ( 9.939)
  BackL(H) i -1 ( -1), [MeV] 0.603 ( -2.878) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma Multi 0, [MeV] Sum -0.000500 Max 0.000300
CaliEvent Run 163 File 738 Evt 35322483 Tof:0 Off:1 Veto:0
  [ms] 1932132846 [mysec] Sys 846813 Gam 0 Adc 600859061
  Multi StopXL 4 StopXH 1 StopYL 2 StopYH 1 BackL 0 BackH 0 VetoL 0 VetoH 0
  StopXL(H) i 100 (100), [MeV] 9.293 ( 9.301) StopYL(H) i 53 ( 53), [MeV] 9.279 ( 9.344)
  BackL(H) i -1 ( -1), [MeV] 0.603 ( -2.878) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma Multi 0, [MeV] Sum -0.000500 Max 0.000300
CaliEvent Run 163 File 738 Evt 35340259 Tof:0 Off:1 Veto:0
  [ms] 1932161260 [mysec] Sys 260055 Gam 0 Adc 629272733
  Multi StopXL 4 StopXH 4 StopYL 2 StopYH 2 BackL 1 BackH 1 VetoL 0 VetoH 0
  StopXL(H) i 100 (100), [MeV] 154.109 (154.109) StopYL(H) i 53 ( 53), [MeV] 141.689 (141.689)
  BackL(H) i 29 ( 29), [MeV] 21.159 ( 39.112) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma Multi 2, [MeV] Sum 0.272122 Max 0.219680
Event Chain 119 Run 163 File 738 Evt 35256655 Tof:1 Off:0 EVR:1 Al:0 SF:0
  [ms] 1932028149 [mysec] Sys 149899 Gam 0 Adc 496160551, d [msec] Sys 0.000 Gam 0.000 Adc 58.174
  StopXL(H) i 100 (100), [MeV] 8.507 ( 8.484) StopYL(H) i 53 ( 53), [MeV] 7.839 ( 7.887)
  BackL(H) i -1 ( -1), [MeV] 0.603 ( -2.878) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum 0.533983 Max 0.534583 XMulti 1 ( 1)
Event Chain 119 Run 163 File 738 Evt 35285660 Tof:1 Off:0 EVR:1 Al:0 SF:0
  [ms] 1932073816 [mysec] Sys 816623 Gam 0 Adc 541827970, d [msec] Sys 45.667 Gam 0.000 Adc 40.096
  StopXL(H) i 100 (100), [MeV] 7.690 ( 7.666) StopYL(H) i 53 ( 53), [MeV] 7.689 ( 7.688)
  BackL(H) i -1 ( -1), [MeV] 0.603 ( -2.878) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum 4.372772 Max 3.224428 XMulti 1 ( 1)
EVR missing with 6.926 MeV and following 0.774 sec Alpha. By Veto v=275, see above
***** Evt 35315979 Veto 1 v=275
Event Chain 119 Run 163 File 738 Evt 35316464 Tof:0 Off:1 EVR:0 Al:1 SF:0
  [ms] 1932123304 [mysec] Sys 304518 Gam 0 Adc 591316619, d [msec] Sys 49.488 Gam 0.000 Adc 52.059
  StopXL(H) i 100 (100), [MeV] 9.913 ( 9.982) StopYL(H) i 53 ( 53), [MeV] 9.879 ( 9.939)
  BackL(H) i -1 ( -1), [MeV] 0.603 ( -2.878) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum -0.000500 Max 0.000300 XMulti 2 ( 2)
Event Chain 119 Run 163 File 738 Evt 35322483 Tof:0 Off:1 EVR:0 Al:1 SF:0
  [ms] 1932132846 [mysec] Sys 846813 Gam 0 Adc 600859061, d [msec] Sys 9.542 Gam 0.000 Adc 15.179
  StopXL(H) i 100 (100), [MeV] 9.293 ( 9.301) StopYL(H) i 53 ( 53), [MeV] 9.279 ( 9.344)
  BackL(H) i -1 ( -1), [MeV] 0.603 ( -2.878) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum -0.000500 Max 0.000300 XMulti 4 ( 4)
Event Chain 119 Run 163 File 738 Evt 35340259 Tof:0 Off:1 EVR:0 Al:0 SF:1
  [ms] 1932161260 [mysec] Sys 260055 Gam 0 Adc 629272733, d [msec] Sys 28.414 Gam 0.000 Adc 15.554
  StopXL(H) i 100 (100), [MeV] 154.109 (193.221) StopYL(H) i 53 ( 53), [MeV] 141.689 (141.689)
  BackL(H) i 29 ( 29), [MeV] 21.159 ( 39.112) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum 0.272122 Max 0.219680 XMulti 4 ( 4)
------------------------------------------------------
CaliEvent Run 179 File 836 Evt 223527471 Tof:1 Off:0 Veto:0
  [ms] 2183255401 [mysec] Sys 401934 Gam 0 Adc 2614316254
  Multi StopXL 1 StopXH 1 StopYL 1 StopYH 1 BackL 0 BackH 0 VetoL 0 VetoH 0
  StopXL(H) i 122 (122), [MeV] 3.262 ( 3.120) StopYL(H) i 88 ( 88), [MeV] 3.279 ( 3.186)
  BackL(H) i -1 ( -1), [MeV] 0.603 ( -2.878) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma Multi 1, [MeV] Sum 0.368243 Max 0.368243
CaliEvent Run 179 File 836 Evt 223528283 Tof:0 Off:0 Veto:0 isAlpha d [msec] Sys 92.2
  [ms] 2183256305 [mysec] Sys 305464 Gam 0 Adc 2615219799
  Multi StopXL 3 StopXH 1 StopYL 2 StopYH 2 BackL 0 BackH 0 VetoL 0 VetoH 0
  StopXL(H) i 123 (122), [MeV] 9.939 ( 9.939) StopYL(H) i 88 ( 64), [MeV] 9.914 (268.407)
  BackL(H) i -1 ( -1), [MeV] 0.603 ( -2.878) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma Multi 3, [MeV] Sum 8.126687 Max 6.277769
CaliEvent Run 179 File 836 Evt 223604065 Tof:0 Off:1 Veto:0
  [ms] 2183348507 [mysec] Sys 507890 Gam 0 Adc 2707423644
  Multi StopXL 2 StopXH 1 StopYL 1 StopYH 1 BackL 0 BackH 0 VetoL 0 VetoH 0
  StopXL(H) i 122 (122), [MeV] 9.297 ( 9.277) StopYL(H) i 88 ( 88), [MeV] 9.299 ( 9.344)
  BackL(H) i -1 ( -1), [MeV] 0.603 ( -2.878) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma Multi 0, [MeV] Sum -0.000500 Max 0.000300
CaliEvent Run 179 File 836 Evt 223642101 Tof:0 Off:1 Veto:0
  [ms] 2183394790 [mysec] Sys 790910 Gam 0 Adc 2753707379
  Multi StopXL 2 StopXH 1 StopYL 1 StopYH 2 BackL 1 BackH 1 VetoL 0 VetoH 0
  StopXL(H) i 122 (122), [MeV] 102.098 (102.098) StopYL(H) i 88 ( 88), [MeV] 88.460 ( 88.460)
  BackL(H) i 14 ( 14), [MeV] 18.182 ( 29.341) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma Multi 2, [MeV] Sum 0.563841 Max 0.407735
Event Chain 132 Run 179 File 836 Evt 223465063 Tof:1 Off:0 EVR:1 Al:0 SF:0
  [ms] -2111787873 [mysec] Sys 423212 Gam 0 Adc 2538336364, d [msec] Sys 0.000 Gam 0.000 Adc 19.203
  StopXL(H) i 122 (122), [MeV] 8.300 ( 8.019) StopYL(H) i 88 ( 88), [MeV] 0.812 ( 1.134)
  BackL(H) i -1 ( -1), [MeV] 0.603 ( -2.878) VetoL(H) -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum -0.000500 Max 0.000300 XMulti 1 ( 1)
Event Chain 132 Run 179 File 836 Evt 223479045 Tof:1 Off:0 EVR:1 Al:0 SF:0
  [ms] -2111770917 [mysec] Sys 379287 Gam 0 Adc 2555292696, d [msec] Sys 16.956 Gam 0.000 Adc 15.336
  StopXL(H) i 122 (122), [MeV] 5.521 ( 5.371) StopYL(H) i 88 ( 88), [MeV] 5.494 ( 5.437)
  BackL(H) i -1 ( -1), [MeV] 0.603 ( -2.878) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum -0.000500 Max 0.000300 XMulti 1 ( 1)
Event Chain 132 Run 179 File 836 Evt 223576595 Tof:1 Off:0 EVR:1 Al:0 SF:0
  [ms] -2111652219 [mysec] Sys 77780 Gam 0 Adc 2673993021, d [msec] Sys 118.698 Gam 0.000 Adc 0.900
  StopXL(H) i 122 (122), [MeV] 8.391 ( 8.350) StopYL(H) i 87 ( 87), [MeV] 7.278 ( 7.244)
  BackL(H) i -1 ( -1), [MeV] 0.603 ( -2.878) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum 11.749644 Max 6.669339 XMulti 3 ( 3)
EVR missing with 3.26 MeV and following 0.9 sec Alpha below energy threshold
Alpha missing with 9.995 MeV and 92.2 sec see above, x=123
Event Chain 132 Run 179 File 836 Evt 223604065 Tof:0 Off:1 EVR:0 Al:1 SF:0
  [ms] -2111618789 [mysec] Sys 507890 Gam 0 Adc 2707423644, d [msec] Sys 33.430 Gam 0.000 Adc 25.326
  StopXL(H) i 122 (122), [MeV] 9.297 ( 9.277) StopYL(H) i 88 ( 88), [MeV] 9.299 ( 9.344)
  BackL(H) i -1 ( -1), [MeV] 0.603 ( -2.878) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum -0.000500 Max 0.000300 XMulti 2 ( 2)
Event Chain 132 Run 179 File 836 Evt 223629649 Tof:1 Off:0 EVR:1 Al:0 SF:0
  [ms] -2111587559 [mysec] Sys 737747 Gam 0 Adc 2738653985, d [msec] Sys 31.230 Gam 0.000 Adc 19.837
  StopXL(H) i 122 (122), [MeV] 14.070 ( 14.243) StopYL(H) i 88 ( 88), [MeV] 14.041 ( 14.243)
  BackL(H) i -1 ( -1), [MeV] 0.603 ( -2.878) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum -0.000500 Max 0.000300 XMulti 1 ( 1)
Event Chain 132 Run 179 File 836 Evt 223642101 Tof:0 Off:1 EVR:0 Al:0 SF:1
  [ms] -2111572506 [mysec] Sys 790910 Gam 0 Adc 2753707379, d [msec] Sys 15.053 Gam 0.000 Adc 13.729
  StopXL(H) i 122 (122), [MeV] 102.098 (131.439) StopYL(H) i 88 ( 88), [MeV] 88.460 ( 88.460)
  BackL(H) i 14 ( 14), [MeV] 18.182 ( 29.341) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum 0.563841 Max 0.407735 XMulti 2 ( 2)
---------------------------------------
Event Chain 138 Run 198 File 904 Evt 106958183 Tof:1 Off:0 EVR:1 Al:0 SF:0
  [ms] -1881425015 [mysec] Sys 281998 Gam 0 Adc 972044888, d [msec] Sys 0.000 Gam 0.000 Adc 46.018
  StopXL(H) i 59 ( 59), [MeV] 4.459 ( 4.258) StopYL(H) i 47 ( 47), [MeV] 4.451 ( 4.152)
  BackL(H) i 10 ( -1), [MeV] 0.819 ( -2.878) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum -0.000500 Max 0.000300 XMulti 1 ( 1)
Event Chain 138 Run 198 File 904 Evt 106997000 Tof:1 Off:0 EVR:1 Al:0 SF:0
  [ms] -1881358171 [mysec] Sys 125689 Gam 0 Adc 1038889619, d [msec] Sys 66.844 Gam 0.000 Adc 41.288
  StopXL(H) i 59 ( 59), [MeV] 9.139 ( 9.169) StopYL(H) i 46 ( 46), [MeV] 8.968 ( 7.133)
  BackL(H) i -1 ( -1), [MeV] 0.603 ( -2.878) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum 0.592514 Max 0.593014 XMulti 1 ( 1)
Event Chain 138 Run 198 File 904 Evt 107083748 Tof:1 Off:0 EVR:1 Al:0 SF:0
  [ms] -1881209527 [mysec] Sys 769395 Gam 0 Adc 1187535611, d [msec] Sys 148.644 Gam 0.000 Adc 78.274
  StopXL(H) i 59 ( 59), [MeV] 8.459 ( 8.447) StopYL(H) i 47 ( 47), [MeV] 8.445 ( 8.412)
  BackL(H) i -1 ( -1), [MeV] 0.603 ( -2.878) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum 4.443708 Max 3.279788 XMulti 1 ( 1)
Event Chain 138 Run 198 File 904 Evt 107084412 Tof:0 Off:1 EVR:0 Al:1 SF:0
  [ms] -1881208395 [mysec] Sys 901624 Gam 0 Adc 1188667857, d [msec] Sys 1.132 Gam 0.000 Adc 34.593
  StopXL(H) i 59 ( 59), [MeV] 10.004 ( 10.108) StopYL(H) i 47 ( 47), [MeV] 10.012 ( 10.061)
  BackL(H) i -1 ( -1), [MeV] 0.603 ( -2.878) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum -0.000500 Max 0.000300 XMulti 1 ( 1)
Event Chain 138 Run 198 File 904 Evt 107084434 Tof:0 Off:1 EVR:0 Al:0 SF:1
  [ms] -1881208352 [mysec] Sys 944776 Gam 0 Adc 1188711009, d [msec] Sys 0.043 Gam 0.000 Adc 43.152
  StopXL(H) i 59 ( 59), [MeV] 210.041 (210.041) StopYL(H) i 47 ( 47), [MeV] 193.159 (193.159)
  BackL(H) i -1 ( -1), [MeV] 0.603 ( -2.878) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum 1.744879 Max 1.148250 XMulti 4 ( 4)
---------------------------------------
Event Chain 139 Run 219 File 1000 Evt 67896741 Tof:1 Off:0 EVR:1 Al:0 SF:0
  [ms] -1562182506 [mysec] Sys 790288 Gam 0 Adc 2385684616, d [msec] Sys 0.000 Gam 0.000 Adc 57.063
  StopXL(H) i 89 ( 89), [MeV] 8.151 ( 7.999) StopYL(H) i 49 ( 49), [MeV] 1.899 ( 1.429)
  BackL(H) i -1 ( -1), [MeV] 0.603 ( -2.878) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum 1.040753 Max 1.041353 XMulti 2 ( 2)
Event Chain 139 Run 219 File 1000 Evt 67933718 Tof:1 Off:0 EVR:1 Al:0 SF:0
  [ms] -1562123567 [mysec] Sys 729816 Gam 0 Adc 2444625035, d [msec] Sys 58.939 Gam 0.000 Adc 80.479
  StopXL(H) i 89 ( 89), [MeV] 10.238 ( 10.267) StopYL(H) i 48 ( 48), [MeV] 10.205 ( 10.143)
  BackL(H) i 41 ( 41), [MeV] 3.393 ( 3.246) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum -0.000500 Max 0.000300 XMulti 1 ( 1)
Event Chain 139 Run 219 File 1000 Evt 67960814 Tof:1 Off:0 EVR:1 Al:0 SF:0
  [ms] -1562080292 [mysec] Sys 4228 Gam 0 Adc 2487900108, d [msec] Sys 43.275 Gam 0.000 Adc 322.037
  StopXL(H) i 89 ( 89), [MeV] 9.968 ( 9.992) StopYL(H) i 48 ( 48), [MeV] 8.581 ( 8.452)
  BackL(H) i -1 ( -1), [MeV] 0.603 ( -2.878) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum 1.202417 Max 0.604794 XMulti 1 ( 1)
Event Chain 139 Run 219 File 1000 Evt 68020658 Tof:1 Off:0 EVR:1 Al:0 SF:0
  [ms] -1561985359 [mysec] Sys 937313 Gam 0 Adc 2582834633, d [msec] Sys 94.933 Gam 0.000 Adc 41.069
  StopXL(H) i 89 ( 89), [MeV] 7.623 ( 7.519) StopYL(H) i 48 ( 48), [MeV] 7.636 ( 7.476)
  BackL(H) i -1 ( -1), [MeV] 0.603 ( -2.878) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum 0.723408 Max 0.558537 XMulti 1 ( 1)
Event Chain 139 Run 219 File 1000 Evt 68021261 Tof:0 Off:0 EVR:0 Al:1 SF:0
  [ms] -1561984438 [mysec] Sys 858020 Gam 0 Adc 2583755354, d [msec] Sys 0.921 Gam 0.000 Adc 39.576
  StopXL(H) i 89 ( 89), [MeV] 9.895 ( 9.992) StopYL(H) i 48 ( 48), [MeV] 9.880 ( 9.818)
  BackL(H) i -1 ( -1), [MeV] 0.603 ( -2.878) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum -0.000500 Max 0.000300 XMulti 1 ( 1)
Event Chain 139 Run 219 File 1000 Evt 68021522 Tof:0 Off:1 EVR:0 Al:0 SF:1
  [ms] -1561984049 [mysec] Sys 247890 Gam 0 Adc 2584145229, d [msec] Sys 0.389 Gam 0.000 Adc 51.728
  StopXL(H) i 89 ( 89), [MeV] 196.388 (196.388) StopYL(H) i 48 ( 48), [MeV] 176.164 (176.164)
  BackL(H) i -1 ( -1), [MeV] 0.603 ( -2.878) VetoL(H) i -1 ( -1), [MeV] 0.000 ( 0.000)
  Gamma [MeV] Sum 0.190875 Max 0.191675 XMulti 4 ( 4)

## Background
Picture shows Alpha background 250 s before off-beam SF (t018selection250s_AS.root). Red pixels mark positions of approved chains.

Probability of background based on the LMD files containing chain candidates.
Mechanism:
When detecting an off-beam SF (processed fissions) we go back 250 (150) sec and
look for EVR and Alpha matching X,Y(+-1) of SF.
If at least one of each has been found, all EVR and Alpha
together with the SF form a chain candidate (chains).
All EVR and Alpha NOT matching the SF position are accumulated in XY histograms
regardless of wether a chain candidate was found.
The following table gives the counting rates at the positions of approved chains,
normalized to the integrated time slices.
The probability of chains is mainly the one for Alphas which is
below 10^-4/s except the three at Y=18,19 where it is still below 10^-3/s.

Tasca> TascaAnlProc: Processed 12715418 selected 553
        stack Processed 11634950
        total Fissions 3931482 processed 726 chains 84 sec 181500
        total Alphas 260536
        total EVRs 8523436
        Timewindow [s] 250
        X Y counts normalized to sum of time slices
    All 91, 18 1122 6182 10^-6/s
    All 103, 31 370 2039 10^-6/s
    All 83, 18 1426 7857 10^-6/s
    All 102, 24 340 1873 10^-6/s
    All 110, 19 794 4375 10^-6/s
    All 119, 29 300 1653 10^-6/s
    All 131, 26 141 777 10^-6/s
    All 22, 11 1072 5906 10^-6/s
    All 59, 24 711 3917 10^-6/s
    All 86, 21 733 4039 10^-6/s
    All 89, 24 399 2198 10^-6/s
    All 100, 5 412 2270 10^-6/s
    All 122, 40 133 733 10^-6/s
    All 59, 47 510 2810 10^-6/s
    All 89, 0 278 1532 10^-6/s
    Evr 91, 18 1024 5642 10^-6/s 91%
    Evr 103, 31 353 1945 10^-6/s 95%
    Evr 83, 18 1235 6804 10^-6/s 86%
    Evr 102, 24 328 1807 10^-6/s 96%
    Evr 110, 19 720 3967 10^-6/s 90%
    Evr 119, 29 283 1559 10^-6/s 94%
    Evr 131, 26 122 672 10^-6/s 86%
    Evr 22, 11 1065 5868 10^-6/s 99%
    Evr 59, 24 704 3879 10^-6/s 99%
    Evr 86, 21 728 4011 10^-6/s 99%
    Evr 89, 24 390 2149 10^-6/s 97%
    Evr 100, 5 400 2204 10^-6/s 97%
    Evr 122, 40 126 694 10^-6/s 94%
    Evr 59, 47 487 2683 10^-6/s 95%
    Evr 89, 0 255 1405 10^-6/s 91%
    Alpha 91, 18 98 540 10^-6/s 8%
    Alpha 103, 31 17 94 10^-6/s 4%
    Alpha 83, 18 191 1052 10^-6/s 13%
    Alpha 102, 24 12 66 10^-6/s 3%
    Alpha 110, 19 74 408 10^-6/s 9%
    Alpha 119, 29 17 94 10^-6/s 5%
    Alpha 131, 26 19 105 10^-6/s 13%
    Alpha 22, 11 7 39 10^-6/s 0%
    Alpha 59, 24 7 39 10^-6/s 0%
    Alpha 86, 21 5 28 10^-6/s 0%
    Alpha 89, 24 9 50 10^-6/s 2%
    Alpha 100, 5 12 66 10^-6/s 2%
    Alpha 122, 40 7 39 10^-6/s 5%
    Alpha 59, 47 23 127 10^-6/s 4%
    Alpha 89, 0 23 127 10^-6/s 8%

This run is with shorter time slice of 150 s.
The values are very similar..

Tasca> TascaAnlProc: Processed 12715418 selected 287
        stack Processed 7062032
        total Fissions 3931482 processed 726 chains 55 sec 108900
        total Alphas 260536
        total EVRs 8523436
        Timewindow [s] 150
    All 91, 18 676 6208 10^-6/s
    All 103, 31 220 2020 10^-6/s
    All 83, 18 868 7971 10^-6/s
    All 102, 24 196 1800 10^-6/s
    All 110, 19 489 4490 10^-6/s
    All 119, 29 176 1616 10^-6/s
    All 131, 26 79 725 10^-6/s
    All 22, 11 659 6051 10^-6/s
    All 59, 24 444 4077 10^-6/s
    All 86, 21 428 3930 10^-6/s
    All 89, 24 258 2369 10^-6/s
    All 100, 5 257 2360 10^-6/s
    All 122, 40 76 698 10^-6/s
    All 59, 47 320 2938 10^-6/s
    All 89, 0 161 1478 10^-6/s
    Evr 91, 18 616 5657 10^-6/s 91%
    Evr 103, 31 210 1928 10^-6/s 95%
    Evr 83, 18 754 6924 10^-6/s 86%
    Evr 102, 24 191 1754 10^-6/s 97%
    Evr 110, 19 444 4077 10^-6/s 90%
    Evr 119, 29 167 1534 10^-6/s 94%
    Evr 131, 26 69 634 10^-6/s 87%
    Evr 22, 11 656 6024 10^-6/s 99%
    Evr 59, 24 440 4040 10^-6/s 99%
    Evr 86, 21 425 3903 10^-6/s 99%
    Evr 89, 24 256 2351 10^-6/s 99%
    Evr 100, 5 247 2268 10^-6/s 96%
    Evr 122, 40 72 661 10^-6/s 94%
    Evr 59, 47 304 2792 10^-6/s 95%
    Evr 89, 0 147 1350 10^-6/s 91%
    Alpha 91, 18 60 551 10^-6/s 8%
    Alpha 103, 31 10 92 10^-6/s 4%
    Alpha 83, 18 114 1047 10^-6/s 13%
    Alpha 102, 24 5 46 10^-6/s 2%
    Alpha 110, 19 45 413 10^-6/s 9%
    Alpha 119, 29 9 83 10^-6/s 5%
    Alpha 131, 26 10 92 10^-6/s 12%
    Alpha 22, 11 3 28 10^-6/s 0%
    Alpha 59, 24 4 37 10^-6/s 0%
    Alpha 86, 21 3 28 10^-6/s 0%
    Alpha 89, 24 2 18 10^-6/s 0%
    Alpha 100, 5 10 92 10^-6/s 3%
    Alpha 122, 40 4 37 10^-6/s 5%
    Alpha 59, 47 16 147 10^-6/s 5%
    Alpha 89, 0 14 129 10^-6/s 8%

## Calibration
An automated generation of calibration coefficient files is done by macro
makecali.C(prefix, rootfile)
root -b -l “makecali(\”test\”,\”test_AS\”)”
where prefix is a string used as prefix for all file names generated, rootfile is the name of the ROOT file containing the histograms (given without trailing .root). The macro should be adjusted. Several parameters can be set inside.
Histograms/Cali/StopXL:	prefix_StopXL[144]
Histograms/Cali/StopYL:	prefix_StopYL[96]
Histograms/Cali/StopXH:	prefix_StopXH[144]
Histograms/Cali/StopYH:	prefix_StopYH[96]
Histograms/Cali/BackH:	prefix_BackH[64]
Histograms/Cali/BackL:	prefix_BackL[64]
Histograms/Cali/VetoH:	prefix_VetoH[16]
Histograms/Cali/VetoL:	prefix_VetoL[16]
Histograms/Unpack/GammaE:	prefix_GammaE[8]
Histograms/Unpack/GammaT:	prefix_GammaT[8]
The format of the calibration files is:
name value
The format of the generated files is:
name index a0 a1 a2 : NOF ChiSquare

Class TascaCalibration is the parameter class holding the coefficients. This parameter is used in the TascaCaliProc processor of the second step.
To enable/disable the calibration the macro
setcali.C
must be edited. If enabled, it reads the files produced by makecali. For these the prefix string must be set.

Class TascaCaliFitter is a parameter class with the purpose of doing the calibration interactively. This might be necessary if the automatic calculations do not work for a histogram. This parameter is used in the TascaCaliProc processor of the second step. Calculating calibration parameters is done in two steps. First we need a histogram with the measured lines and a text file with the energies of these lines. These are present in arrays inside the parameter. First fitter LineFitter is used to find out true channel numbers for corresponding lines in calibration spectrum. This fit should be done interactively on the GUI side:
- Get parameter CaliFitter from analysis (Doubleclick)
- Display calibration spectrum.
- Double click on the LineFitter fitter in the parameter editor. Fit panel will open showing the current settings of the fitter. Press Use pad of the fit panel to assign this fitter to the view panel containing the calibration spectrum and Rebuild button.
- Use peak finder 3 to find the peaks. Enlarging the noise factor removes peaks as well as minimum noise.
- Do Fit. If the positions of the lines are fitted correctly, copy the fitter back to the calibration parameter: right mouse button click on LineFitter, select Get from FitPanel.
- Check if the name of the calibration file is correct.
- Set DoFit variable to 1 (will be set back to 0 after the fit).
- Now press left arrow button. This will perform fit of the calibration curve (polynomial of order 2) in the UpdateFrom() method of TascaCaliFitter on the analysis side.
- Pressing right arrow button will get the results of the calibration, present in the polynomial coefficients fdA[0]...fdA[2] and in the Calibrator fitter.
- The corresponding TGraph is UserObjects/CaliGraph and is displayed by double click. Then double click on the Calibrator fitter in the parameter editor to open in a fit panel, press Use Pad, Rebuild and Draw. This will draw the calibration polynomial over the points which indicate the energy/channel of the calibration lines.

The detector layouts